## FINANCE CHARGE
Bill of Materials
Aston Technologies Inc.
6000 Shoreline Court, Suite 325 |  | INVOICE NO. | 100
South San Francisco, CA 94080 |  | DATE | 2023-05-30
(650) 835 - 7570 |  | CUSTOMER ID | SIC10192
info@astontech.com
Lead Engineer |  | For
Aaron Carroll |  |  | Joe Mans
Senior Network Engineer |  |  | SeaIce Creamery
(619) 867-5309 |  |  | 1234 Mission Street # 200
Aaron.Carroll@astontech.com |  |  | San Francisco, CA 94812
(415) 555 - 7564
JOB |  | PAYMENT TERMS
SeaIce Creamery HQ Network Design |  | Due on receipt
DESCRIPTION | QUANTITY | AMOUNT | TOTAL
Palo Alto PA-5220 Next-Generation Firewall VPN Gateway 1/10/40GbE 2x PSU Rails | 3 | 4998 | 14994
Palo Threat Prevention for PA-5220 - subscription license renewal (1 year) - 1 device in HA pair PANPA5220TPHA2R | 2 | 13100 | 26200
Cisco C9500QC-A 32-Port 40G QSFP Switch With Dual Power Supply | 4 | 8100 | 32400
Cisco Network and Digital Network Architecture Advantage - Term License (5 years) - 1 switch C9500-DNA-A-5Y | 4 | 16080 | 64320
LOT OF 20, cisco QSFP-40G-SR-BD QSFP+ Module SR4 LC MMF | 13 | 375 | 4875
AOI QSFP+ 40G-LR4 Lite 2km 1301nm 4xCWDM Daul LC SMF AQOLBCQ4EDMA0878 | 64 | 3 | 192
OS2 LC to LC Fiber Optic Patch Cable Single Mode Duplex 9/125 SMF Yellow 3M | 50 | 14 | 700
OM4 LC to ST Fiber Optic Patch Cable Multimode Duplex Aqua 50/125 LC ST 1M-15M | 180 | 13 | 2340
Cisco Redundant Power Supply - power supply - hot-plug / redundant - 930 Watt C9K-PWR-930WDC-R= | 4 | 1794.99 | 7179.96
Cisco switch fan try for Catalyst 9500 C9K-T1-FANTRAY= | 9 | 185 | 1665
IOGEAR Professional 2000VA - UPS - 1930 Watt - 2000 VA - TAA Compliant GBB2000N | 3 | 1080 | 3240
Tripp Lite PDU Basic 120V 1.8kW 15A 5-15R 13 Outlet 5-15P Horizontal 1URM PDU1215 | 4 | 106 | 424
Cisco Catalyst C9300 48-Port PoE Switch C9300-48U-A | 18 | 850 | 15300
C9300 License Included in the switch. Indicated by the "U" | 16 | 0 | 0
Cisco Config 1 Secondary Power Supply - power supply - hot-plug / redundant - 1100 Watt UPGRADED C1-1100WAC-P | 32 | 275 | 8800
V2 Technologies Cisco - Stacking cable - Stackwise-480 to Stackwise-480 - 50 cm - Type 1 STACK-T1-50CM=-AV2 | 16 | 115 | 1840
APC Smart-UPS SRT 8000VA RM - UPS - 8000 Watt - 8000 VA SRT8KRMXLT | 4 | 8200 | 32800
Tripp Lite PDU Metered Vertical 7.4kW PDUMV32HV | 7 | 500 | 3500
Cisco Switch Fan Tray for Catalyst 9300 FAN-T2-01 | 16 | 50 | 800
CAT 6 Ethernet Cable Lan Network CAT6 Internet Modem Blue RJ45 Patch Cord LOT | 768 | 3.75 | 2880
Cisco C9800-L-C-K9 Catalyst 9800-L Copper Uplink Wireless LAN Controller | 2 | 1200 | 2400
Cisco Catalyst 9120AX Series C9120AXI-B Wi-Fi 6 802.11ax Wireless Access Point | 6 | 406 | 2436
Cisco Digital Network Architecture Essentials - Term License (3 years) - 1 license AIR-DNA-E-3Y | 6 | 139 | 834
10Gtek For Cisco SFP-10G-SR 10GBase-SR 10G SFP+ Transceiver multimode LC 300M | 8 | 27 | 216
|  | SHIPPING | 3387
|  | TAXES | 16110
|  | TOTAL DUE | 249832.96
Make all checks payable to Aston Technologies Inc. .
THANK YOU FOR YOUR BUSINESS!